Smart Grid Alarm Engine Architecture

Alarm Engine je “srce” SCADA sustava koje:

- detektira abnormalna stanja

- generira alarme

- prioritizira incidente

- šalje notifikacije

- aktivira AI i predictive maintenance workflowe

Za tvoj Digital Twin projekt alarm engine treba biti:

- realtime

- event-driven

- scalable

- AI-aware

- geo-aware

- Alarm Engine Arhitektura

- Vrste alarma

1. Electrical Alarms

Voltage

- undervoltage

- overvoltage

- voltage imbalance

Current

- overload

- phase imbalance

Frequency

- frequency instability

- grid oscillation

Harmonics

- THD critical

- power quality degradation

- Thermal Alarms

- oil overheating

- winding overheating

- busbar overheating

- cooling failure

- Oil & Gas Alarms

- hydrogen spike

- methane increase

- acetylene critical

- oil pressure abnormal

- humidity risk

- AI Alarms

Predictive Maintenance

- transformer degradation risk

- remaining lifetime critical

Blackout Prediction

- cascade failure probability

- overload propagation

Anomaly Detection

- abnormal behavior patterns

- AI risk scoring

- Alarm Severity Levels

| Level | Description |
| --- | --- |
| INFO | Informational |
| WARNING | Attention required |
| CRITICAL | Immediate action |
| EMERGENCY | Grid risk / outage |

- Alarm Lifecycle

- Alarm Correlation Engine

Ključ industrijskog SCADA sustava.

Umjesto:

dobiješ:

- Primjer korelacije

- Rule Engine

Primjer pravila

Oil Temperature

Harmonics

Blackout Risk

- AI-Assisted Alarm Scoring

Finalni score:

- Geo Alarm Intelligence

SCADA mapa prikazuje:

- crvene trafostanice

- blackout propagation

- overload zone

- thermal hotspots

- Alarm Analytics

Dashboard Features

- active alarms

- alarm trends

- MTTR

- failure statistics

- risk heatmaps

- alarm frequency

- Alarm Schema (CrateDB)

{
  "alarm_id": "AL-001",
  "timestamp": "2026-05-26T12:00:00",
  "station_id": "TS-042",
  "severity": "CRITICAL",
  "category": "THERMAL",
  "message": "Oil temperature critical",
  "value": 97.2,
  "threshold": 95,
  "ai_risk_score": 0.82,
  "acknowledged": false
}

- Notification Engine

Channels

- SCADA popup

- WebSocket live alerts

- Email

- SMS

- Teams/Slack

- PagerDuty

- Realtime Flow

- Advanced Features

Predictive Alarms

Alarm prije nego kvar nastane.

Dynamic Thresholds

Threshold ovisi o:

- loadu

- ambient temperaturi

- povijesti

Alarm Suppression

sprječava alarm flood.

Root Cause Analysis

AI pronalazi stvarni uzrok.

- Enterprise Deployment

Components

| Layer | Technology |
| --- | --- |
| Messaging | EMQX |
| Analytics | CrateDB |
| Backend | FastAPI |
| Frontend | Vue.js + Quasar Framework |
| AI | PyTorch |
| Stream Processing | Apache Kafka |

- Rezultat

Dobivaš:

Smart Grid Alarm Intelligence Platform

koja:

- detektira kvarove

- predviđa blackout

- prioritizira incidente

- smanjuje false-positive alarme

- pomaže operatorima

- integrira AI + Digital Twin + SCADA

To je već utility-grade enterprise architect