Ok — idemo na industry-grade Digital Twin arhitekturu za elektrodistribuciju (trafostanice Čakovec). Ovo više nije demo stack nego model koji se stvarno približava SCADA + IoT + AI sustavima koje koriste utilities.

FULL DIGITAL TWIN ARHITEKTURA (INDUSTRY LEVEL)
Cilj sustava
Stvoriti “živi digitalni model” trafostanica koji:

- prima real-time podatke (IoT simulacija ili stvarni uređaji)

- održava stanje svake trafostanice u realnom vremenu

- predviđa kvarove i blackout scenarije

- računa health score i lifetime

- simulira “what-if” scenarije (digital twin)

- vizualizira sve u SCADA dashboardu

GLOBALNA ARHITEKTURA

1. DIGITAL TWIN CORE (SRCE SUSTAVA)

Ovo je najbitniji dio — “virtualna trafostanica”.

Model jedne trafostanice

| class TransformerTwin: def __init__(self, station_id): self.id = station_id self.health = 100.0 self.lifetime_days = 25 * 365 self.degradation_rate = 0.0 self.state = {} def update(self, sensor_data): # update real state self.state = sensor_data # degradation logic self.calculate_degradation() # update health self.health = max(0, 100 - self.degradation_rate) def calculate_degradation(self): temp = self.state["thermal"]["oil_temp_c"] load = self.state["electrical"]["current_a"] gas = self.state["oil_gas"]["hydrogen_ppm"] harmonics = self.state["electrical"]["harmonics_thd"] self.degradation_rate += ( temp * 0.02 + load * 0.01 + gas * 0.5 + harmonics * 2 ) |  |
| --- | --- |

2. REAL-TIME STATE ENGINE

Svaka nova MQTT poruka:

ažurira digital twin state

3. AI LAYER (3 MODELA)

A) Load Forecast Model

- predviđa opterećenje 15–60 min unaprijed

Input:
  - current_a
  - voltage
  - rolling avg

Output:
  - predicted load

️ B) Blackout Risk Model

Output:

probability (0–1)

Features:
  - overload
  - voltage drop
  - harmonics spike
  - temperature rise

- Transformer Lifetime Model

## Output:
  remaining_days

Features:
  - thermal stress
  - gas accumulation
  - overload history

4. STREAM PROCESSING LAYER

Ako želiš “industry level”, dodaješ stream engine:

- Kafka ili Flink

Primjer:

EMQX → Kafka topic → Stream processing → AI scoring → CrateDB

5. CRATEDB ROLE (CORE STORAGE + ANALYTICS)

CrateDB postaje:

system of record

- svi senzori

- povijest

- geo podaci

analytics engine

- health score

- risk scoring

- aggregations

digital twin state store

- latest state per trafostanici

6. GEO DIGITAL TWIN (ČAKOVEC GRID)

Svaka trafostanica ima:

{
  "id": "TS-001",
  "lat": 46.3844,
  "lon": 16.4339,
  "health": 87,
  "risk": 0.12,
  "load": 320
}

7. WHAT-IF SIMULATION ENGINE

Ovo je “pravi digital twin moment”.

Primjeri:

Scenario 1 — overload

- +30% load

- vidiš gdje kreće blackout

Scenario 2 — transformer failure

- simuliraš kvar TS-042

- vidiš ripple effect

Scenario 3 — heatwave

- +10°C ambient

- degradacija ubrzana

8. SCADA UI (Vue + Quasar)

Dashboard prikazuje:

- mapu svih TS

- live health score

- risk heatmap

- predictive alerts

- timeline degradation

- AI forecast panel

9. BLACKOUT PROPAGATION MODEL (ADVANCED)

TS failure
   ↓
overload neighbors
   ↓
voltage drop propagation
   ↓
cascade failure simulation

10. FINAL SYSTEM VIEW

ŠTO SI SAD DOBIO

Ovo više nije simulator:

ovo je:

Digital Twin Smart Grid platforma

koja ima:

- real-time state model

- AI forecasting

- anomaly detection

- predictive maintenance

- geo SCADA visualization

- cascade failure simulation

- full asset lifecycle model