Ovo je već “utility-grade” razina — ideš iz IoT simulatora u power system digital twin + ML na grafu. Dajem ti strukturirano kako se to radi u praksi.

1. MULTI-LAYER POWER GRID PHYSICS SIMULATION (LOAD FLOW)

Cilj

Simulirati stvarni tok energije kroz mrežu trafostanica:

- naponi po čvorovima

- tokovi snage po vodovima

- gubici

- overload linija

- kaskadni pad (blackout propagation)

Ovo je klasični load flow problem (power flow).

Model mreže (graf)

Tvoj sustav trafostanica = graf:

- čvor = trafostanica

- edge = vod (kabel/linija)

Multi-layer model (ključna ideja)

Svaka trafostanica ima 3 sloja:

1. Physical layer (elektrika)

- napon (V)

- struja (I)

- impedancija

- power flow

2. Thermal layer

- temperatura transformatora

- gubitci (I²R)

3. Stress layer

- opterećenje

- degradacija

- failure risk

Simplified load flow model (DC approximation)

Koristimo DC power flow (industrijski standard za fast simulation):

Python simulacija (core engine)

1. Grid model

| import numpy as np class GridNode: def __init__(self, id): self.id = id self.voltage = 1.0 self.angle = 0.0 self.load = 0.0 self.gen = 0.0 class GridEdge: def __init__(self, a, b, x): self.a = a self.b = b self.reactance = x self.flow = 0.0 |  |
| --- | --- |

2. Power flow solver (iterativno)

| def compute_power_flow(nodes, edges): for e in edges: a = nodes[e.a] b = nodes[e.b] e.flow = (a.angle - b.angle) / e.reactance # overload detection if abs(e.flow) > 1.0: e.overloaded = True |  |
| --- | --- |

3. Voltage update (simplified)

| def update_voltages(nodes): for n in nodes.values(): n.voltage -= n.load * 0.01 if n.voltage < 0.95: n.stress = "HIGH" |  |
| --- | --- |

Thermal coupling (ključ za transformer aging)

| def thermal_model(node): loss = node.load ** 2 * 0.01 node.temperature += loss if node.temperature > 90: node.degradation += 0.05 |  |
| --- | --- |

️ Blackout propagation

2. GRAPH NEURAL NETWORK (GNN) ZA TRAFOSTANICE

Ovo je “AI layer” iznad fizike.

Cilj GNN-a

Model uči:

- gdje će nastati kvar

- koji node je kritičan

- kako se širi blackout

- predviđa load + failure

Graf definicija

- V = trafostanice

- E = vodovi

- features = senzori

Node features

Edge features

GNN arhitektura

Koristimo standard:

Graph Convolutional Network (GCN)

Formula:

PyTorch Geometric model

| import torch import torch.nn as nn from torch_geometric.nn import GCNConv class GridGNN(nn.Module): def __init__(self, in_channels): super().__init__() self.conv1 = GCNConv(in_channels, 32) self.conv2 = GCNConv(32, 16) self.out = nn.Linear(16, 1) def forward(self, x, edge_index): x = self.conv1(x, edge_index) x = torch.relu(x) x = self.conv2(x, edge_index) x = torch.relu(x) return self.out(x) |  |
| --- | --- |

GNN OUTPUT

1. failure probability

TS-042 → 0.87 (CRITICAL)

2. load prediction

TS-005 → +18% load in 30 min

3. cascade risk

TS-003 failure → 5 neighbors affected

COMBINED SYSTEM (FIZIKA + AI)

Ovo je ključ:

Physics Model  → real constraints
       ↓
GNN Model      → pattern learning
       ↓
Final decision engine

DIGITAL TWIN U PRAKSI

Svaka trafostanica ima:

Real state

- EMQX senzori

Physics state

- load flow model

AI state

- GNN prediction

Final health score

BLACKOUT SIMULATION ENGINE (FULL SYSTEM)

ŠTO SI SAD DOBIO

Ovo je već:

INDUSTRY DIGITAL TWIN STACK

Physics layer

- load flow simulation

- voltage propagation

- thermal coupling

AI layer

- Graph Neural Network

- failure prediction

- load forecasting

SCADA layer

- realtime monitoring

- geo visualization

- alarm system